## Stopping voltage
Take the highest alphabet test as the proper data file. i.e. Take Test 15b for analysis (not test 15)
Test number | Stopping voltage | Uncertainty | Test file name | Rough Notes
1 | 400 | 10
2 | 425 | 5
3 | 411 | 5
4 | 116 | 5
5 | 157 | 5
6 | 527 | 10
7 | 136 | 5
8 | 105 | 4
9 | 156 | 7
10 | 56 | 5
11 | 279 | 5
12 | 44 | 8 |  | Diffuses very slowly
13 | 134 | 4
14 | 71.9 | 5
15 | 95 |  | test15b | Ignore test15 original, lost tracking (see junk tests)
16 | 93 | 6 |  | Kept losing focus on the point\
17 | 84 | 4 |  | Lost focus
18 | 115 |  | test18d | take test d or omit this one entirely
19 | 116 | 4
20 | 117 | 4
21 | 110 | 4 | test21b | use test b
22 | 140 | 3 |  | Higher voltage less diffusion\
23 | 86.1 | 4 | test23b | use test b
24 | 46.8 | 6
25 | 70.4 | 3
26 | 103 | 3
27 | 89 | 5
28 | 130 | 3
29 | 115 | 15 | test29b | Very large range accross which the droplet floats
30 | 130 | 5
31 | 155 | 20 |  | 209 to 115V uncertainty, small droplets diffuse like mad, it is hard to find a stopping voltage
32 | 121 | 18.5 |  | Between 140 and 103
33 | 247 | 20 |  | 221 down, 278 up
34 | 120 | 15 |  | 90 to 140 range
35 |  |  |  | 118 to 175
36 | 148 | 15 |  | 128 to 168
37 | 200 | 9 |  | 190 to 210
38 | 405 | 12.5 |  | 420 to 395
39 | 497 | 12.5 | test39b | 476ish to 510, use b
1 | 147 | 8 |  | Restarted with background lights off... so much easier now
2 | 287 | 10
3 | 213 | 8
4 | 241 | 8
5 | 209 | 10
6 | 314 | 15
7 | 210 | 10
8 | 195 | 10
9 | 170 | 10
10 | 208 | 8
Methodology to determine uncertainty
I tweak the stopping voltage plus minus a certain value to get a range accross which I cannot tell if the droplet is going up or down
For some particles the range is larger, for some the range is very clear.
I analyzed the range for the bolded test numbers (#31 onwards), the remainign ones, I took the first value
Uncertainties on the stopping voltage for runs 1-30 might be larger than what is noted.
General observations
Larger the voltage required for each droplet, larger the droplet, the smoother the vt curves looks, more certainty on the stopping voltage.
10 Hz framerate, pixel number recorded in y dimension, you have the camera specs, use that info to calculate the position in sensible length units vs. time.
Questions to consider
What is happening with lower voltage data?
What are the potential sources of error on the position vs. time plot?